## Data
Counter Plateauing Procedure: Nov 2011
Date: |  |  |  | How to Setup DAQ:
DAQ Serial #: |  |  |  | V1 (to view setup), Modify as needed, SA (to save setting) | [6 empty] | Make sure to go to the Tools pulldown menu and select Add-Ins
Coincidence Level: | 2-fold | [9 empty] | Then check both Analysis Toolpaks to activate the "HEX2DEC" commands
Enabled Counters: | all four |  |  | How to Setup Counters:
d: | 40 | ns |  | Use on-board scaler display and vary HV of PMTs to find range of voltages that will produce count rates from zero to 200/sec | [8 empty] | Plateauing results:
W: | 100 | ns |  | Find voltage on Ch 0 that will produce about 40 Hz and set it as a reference | [8 empty] | HV for Ch 0 | V
Counter Layout: | Stacked |  |  | Sweep voltage on Ch 1 to find middle of plateau, set this voltage on Ch 1 and use it as a reference for setting Ch 0 | [8 empty] | HV for Ch 1 | V
Test Interval | 1 | minute |  | Sweep voltage on Ch 0 to find middle of plateau, set this voltage on Ch 0 and use it as the reference for Ch 2 and Ch 3. | [8 empty] | HV for Ch 2 | V
Discriminator Voltages: |  |  |  | Record all plateaued voltages | [8 empty] | HV for Ch 3 | V
Ch 0 | 0.3 | V
Ch 1 | 0.3 | V |  | How to collect data: |  | Method 1) | Use HT command: "ST 3 1" to report scaler values and reset counters each minute.
Ch 2 | 0.3 | V |  |  |  | Method 2) | RB (to reset scalers), use stopwatch to time for test interval, DS (to display scaler counts)
Ch 3 | 0.3 | V |  |  |  |  | Use V1 to be sure that 2-fold coincidence mode was saved before RB resets it.
|  |  |  | Fill in all yellow cells |  |  | Do not change any formulas |  |  | or headers |  | Review Charts on next sheet
Step # | Tube Voltage |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Single (reference) |  | Single (test) |  | Coincidence |  | Coincidence
Step #1 | Ch 0 | Ch 1 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
| 0.76 |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
Step #2 | Ch 0 | Ch 2 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
Step #3 | Ch 0 | Ch 3 | S0 | s0 | S3 | s3 | S4 | s4 | Rate as %
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
Step #4 | Ch 1 | Ch 0 | S0 (test) | s0 | S1 (ref) | s1 | S4 | s4 | Rate as %
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0